WEL Sensor Names

(Suggested)

Rev 1.0

Note:

Add a number after the name if there are more than one of that type of sensor eg WZS1 & WZS2

T	= GENERIC TEMPERATURE

OA 	= OUTSIDE AIR TEMP

BD 	= BOARD TEMP

AZ 	= AIR, ZONE TEMP (THERMOSTATE SENSING TEMP)

AZS 	= AIR, ZONE SUPPLY AIR

AZR 	= AIR, ZONE RETURN AIR

WZS 	= WATER, ZONE SUPPLY LINE

WZR 	= WATER, ZONE RETURN LINE

WG	= WATER, GROUND LOOP

WD 	= WATER, INCOMING DOMESTIC

CP	= CIRCULATOR PUMP

CZ	= CIRCULATOR ZONE

HWS 	= HOT WATER SUPPLY (FROM BOILER TO WATER HEATER)

HWR 	= HOT WATER RETURN (TO THE BOILER)

DHW 	= DOMESTIC HOT WATER TEMP

FRG 	= REFRIGERATOR TEMP

FRZ 	= FREEZER TEMP

R 	= RUN SENSOR

WF 	= WET FLOOR SENSOR

SPA 	= SUMP PUMP ALARM (High Water)

SPR 	= SUMP PUMP RUNNING

BHTL 	= BOILER HIGH TEMP LOOP (THIS FEEDS THE WATER HEATER)

BLTL 	= BOILER LOW TEMP LOOP (THIS IS FOR THE FLOOR LOOPS)

PL	= POWER, ELECTRIC LOAD

PD	= POWER, ELECTRIC USED TODAY

PM	= POWER, ELECTRIC USED THIS MONTH